APPROVED PRODUCTION FACILITY WORKSHEET

This worksheet is intended to assist building owners, manager and location managers in determining whether a building meets the general requirements of the California Fire Code to be classified as an Approved Production Facility.

If the building does not meet ALL of the requirements it is a Production Location.  Production Locations require Fire Safety Officers during production.

(   )	Building meets the Building Code requirements for a Group F, Division 1 	Occupancy.

(   )   	Building is provided with an automatic fire sprinkler system designed to the 	requirements of Extra Hazard, Group 2.

(   )	Exit travel distance does not exceed 150 feet.

(   ) 	Fire sprinkler and alarm systems monitored by listed central station service.

(   )   	Exit doors are equipped with panic hardware and swing in direction of travel.

(   )	Illuminated exit signs are provided for all exit pathways, this includes cross

aisles and paths from sets to required exit pathways.

(   )	A minimum electrical supply of 35 watts per square foot dedicated to 		production lighting and power.

(   ) 	A designated location for mobile or stationary generators with approved “pass 	troughs” in exterior or fire-resistive walls.

If you have not placed a checkmark at each item you do not meet the minimum requirements for consideration as an Approved Production Facility.

You may contact the Fire Prevention Division at (310) 253-5925 for assistance.