Fire Safety Officer (FSO) Requirement Guidelines for Film Production/Entertainment Industry/Assembly/Special Events

Authority Per CFC Article 46

Any event requiring a permit and not covered by an FSO, a paper permit will be issued with Special Permit Conditions attached and signed by applicant, not applicant’s assistants.

FSO Normally Required for:

  - Use of any amount of flammable or combustible liquids for a special effect, (e.g. mortar, fire ball, uncontrolled flame effect), inside any building.

  - Any production that includes a live audience in a structure, including tents, not designed as an assembly occupancy.

  - Any production that includes large numbers of ‘extras’ unfamiliar with sound stage or location.

  - Any special event where normal occupancy limits are exceeded or 250 people (regardless of maximum occupant load).   
a.	Any special event comprised of individuals less than eighteen years
 	of age (e.g. Grad Night, Bar Mitzvahs, etc…).

b.	Sony may be allowed to provide on-lot fire prevention staff, in lieu of an FSO, up to 250 people upon review and approval from CCFD fire marshal or his designate.

c.	Whenever more than two FSO’s are needed, a ‘preferred’ member of rank i.e., chief or captain, or a fire prevention officer may be assigned to direct the detail.

d.	Chief officer’s may be assigned to lead FSO details when in the opinion of the fire marshal, or his designate, the nature of the event warrants a higher command presence.

  - Film production inside buildings within Culver City not considered a legitimate sound stage or approved production facility.

  - Assignments received from the police department.

  - Pyrotechnics use inside or outside a structure.

  - Open flame inside a structure; e.g., stove, fireplace, candles.

  - Spraying of lacquer inside a structure.

  - Flame bars with propane or natural gas inside a structure.

  - Film production on City property, outside.

  - Welding of any kind / cutting with torch inside a structure.

  - When in the opinion of the fire marshal, it is necessary for the preservation of life or property, due to the hazardous nature of an event, production, operation or function.

General Guidelines:

  - Whenever more than two FSO’s are needed, a ‘preferred’ member of rank i.e., chief or captain, or a fire prevention officer may be assigned to direct the detail.

  - Chief officer’s may be assigned to lead FSO details when in the opinion of the fire marshal, or his designate, the nature of the event warrants a higher command presence.

Fire Safety Officer (FSO) Requirement Guidelines for Special Events not associated with Film Production

Special events, charity events, City sponsored functions, etc… less than 8 hours will be filled through fire prevention ‘preferred’ FSO members.

FSO Normally Required for:

Any event where a special event permit is required and/or normal occupancy limits are exceeded.  

General Guidelines:

- Pay standards assigned to the Motion Picture and Television Producers may be waived and a 4 hour minimum applied.

- Charitable events which meet the requirements of the City Treasurer (or the Committee on Permits & Licensing) may have their fees waived.

- Assignments made within fire prevention for special events not associated with film production will not be assigned using Telestaff.